Inspecting and

testing subfloors

Supporting:

MSFFL2004: Moisture test timber and concrete floors

MSFFL 3003: Inspect sub-floors

INTAR Flooring Technology Project 2015

Learner guide

Inspecting and

testing subfloors

Learner guide

This Learner guide is part of a suite of resources developed for learners undertaking the Certificate III in Flooring Technology (MSF30813). Its purpose is to help apprentice floor layers, sales staff and other workers to acquire the background knowledge needed to satisfy the theoretical components of the competencies covered. It is not designed to replace the practical training necessary to develop the hands-on skills required.

#### E-learning version

All of the content material contained in this Learner guide is also available in an e-learning format, which has additional photos, interactive exercises and a voice-over narration of the text. The e-learning version can be viewed on the web at: www.intar.com.au

ISBN: 978-1-925087-40-6

This training resource forms part of the Flooring Technology project, developed and coordinated by INTAR (Industry Network Training and Assessment Resources). To see the on-line versions of the resources available under this project, please go to the INTAR website and follow the links.

### Copyright

The original version of this resource was developed by Workspace Training for INTAR members – with the copyright owned by McElvenny Ware Pty Ltd, trading as Workspace Training. Parts of the resource are based on material developed by Workspace Training with funding provided by the Workplace English Language and Literacy (WELL) Program – with copyright owned by the Commonwealth Government under a Creative Commons Attribution-Noncommercial-Share Alike 3.0 Australia Licence. All enquiries regarding copyright should be addressed to:

David McElvenny, Workspace Training, PO Box 1954 Strawberry Hills, NSW, 2012 
Email: david@workspacetraining.com.au

### Disclaimer

The content of this resource is provided for educational purposes only. No claim is made as to its accuracy or authenticity. The authors, copyright owners and INTAR do not give any warranty nor accept any liability in relation to the information presented in this work.

In all cases, users should consult the original source documents before relying on any information presented in the resource. These source documents include manufacturers’ installation guides, Australian Standards, codes of practice and other materials produced by specialist industry bodies and government agencies.

### Acknowledgements

The INTAR project team comprises the following people: David McElvenny (Workspace Training) – lead writer and project manager; Kath Ware (Workspace Training) – instructional designer and graphic artist, Jim Vaughan (VCSS) – technical developer and programmer; Alex Vaughan (VCSS) – assistant programmer and voice-over narrator.

All line drawn graphics were produced by Kath Ware. Many of these graphics are based on line drawings or photographs from installation manuals published by floor covering manufacturers.

Most of the on-site work photos were taken by David McElvenny. Some photos showing product samples were supplied by manufacturers, as acknowledged in the text or photo.

Many TAFE teachers, RTO trainers and industry experts have been involved in the development of this resource. Particular thanks go to the following people for providing learning materials, technical advice and feedback:

Craig Bennett – Hunter Institute of TAFE (NSW)

Steven Dalton – Marleston TAFE

Bruce Ottens – Holmesglen TAFE (Victoria)

Chris Shaw – TasTAFE (Tasmania)

William Tree – ACFIT (NSW)

Mark Willis – Armstrong Flooring

# Table of contents

Introduction	1

Section 1 Subfloor systems	3

Overview	5

Subfloor terminology	6

Concrete slab subfloors	7

Timber framed subfloors	9

Structural sheet flooring	11

Underlay board products	13

Assignment 1	15

Section 2 Moisture in subfloors	17

Overview	19

Relative humidity and moisture	20

Moisture in wood	22

Drying timber to EMC	24

Moisture in concrete	27

Drying concrete to EMC	29

Assignment 2	31

Section 3 Inspecting subfloors	33

Overview	35

Site safety	37

Australian Standards	39

Inspecting concrete subfloors	42

Inspecting timber subfloors	47

Checking subfloor ventilation	51

Assignment 3	55

Section 4 Measuring moisture and pH	57

Overview	59

Principles of moisture testing	60

Insulated hood test	66

In-situ probe test	68

Electrical resistance meters	71

Other moisture testing methods	73

Measuring pH levels	75

Assignment 4	78

Practical demonstration checklist	79

## Introduction

It’s a good feeling when the client thanks you for a job well done and tells you how pleased they are with the finished floor. Happy clients are also good for your business – they pay their bills on time and recommend your services to others.

But it’s what the client doesn’t see that will really make a difference to their long term enjoyment of the floor.

The effort you’ve put into preparing the subfloor and fixing any problems that might cause trouble later are central to the floor’s performance in the coming years.

This is what sets professional installers apart from the fly-by-nights. Anyone who puts a new floor covering down on a poorly prepared subfloor is about to prove the truth of the old saying: ‘Beauty is only skin deep, but ugliness goes right to the core’.

Because when the ugliness starts – such as blistering, rutting, stains, delaminating layers and other forms of damage – there is nothing they’ll be able to do at a ‘cosmetic’ level to stop it.

In this unit, we’ll look at the crucial importance of subfloor inspection and moisture testing when you’re carrying out a site assessment before starting a new installation project. We’ll also examine the structure of subfloors and the types of material they are made from.

### Working though this unit

There are four sections in this unit:

Subfloor systems

Moisture in subfloors

Inspecting subfloors

Measuring moisture and pH.

Each section contains an Overview, an Assignment and Lessons which cover the content material.

##### Assignments

Your trainer may ask you to submit the assignments as part of your assessment evidence for the unit. You will find hard-copy templates for these assignments in the separate workbook.

Electronic ‘Word’ templates of the assignments are available on the website for this resource, at: www.intar.com.au

##### Learning activities

Each of the lessons has a learning activity at the end. The Workbook for this unit contains all of the learning activities together with spaces for written answers.

Again, you will find the learning activities on the website version, together with some interactive ‘Just for fun’ exercises.

##### Practical demonstrations

Your final assessment of competency in this unit will include various practical demonstrations. To help you get ready for these hands-on assessment activities, see the sample checklist shown in the Practical demonstrations section at the back of this Learner guide.

# Section 1

# Subfloor systems

## Overview

A subfloor is the structural layer of flooring in a building. It needs to be strong enough to support the walls and any other structural elements built on top of it.

Sometimes the structural floor is used as the finished floor surface in the building – such as with polished concrete or exposed particleboard sheets.

But generally it’s covered with a flooring product that suits the purpose of that part of the building and meets the client’s needs for durability and appearance.

In this section we’ll discuss the main types of subfloor systems and the materials used to construct them.

### Completing this section

The assignment for this section is designed to test your knowledge of different types of subfloors and the materials they’re made from.

Have a look at the Assignment on page 15 to see what you’ll need to do to complete it.

There are also five lessons in this section:

Subfloor terminology

Concrete slab subfloors

Timber framed subfloors

Structural sheet flooring

Underlay board products.

These lessons will provide you with background information relevant to the assignment.

## Subfloor terminology

The two most common types of subfloors are:

concrete slab – which may be on-ground or suspended above the ground

timber or steel framed – which use floor joists to support structural sheet flooring, such as particleboard or plywood.

In some cases, the surface of the subfloor 
is suitable for a floor covering to be placed directly on top. However, where the surface is rough or has other imperfections in it, an underlay or underlayment is placed in between the subfloor and the covering.

Underlay is used to provide a smooth even surface for the floor covering to lay on. It sits on top of the subfloor and can be made from either a soft cushioning material or a board product.

When the covering is carpet or other textile materials, a soft underlay is used, such as sponge rubber or foam. For vinyl and other resilient floor coverings, a hard underlay is generally better, made from hardboard, plywood, MDF or fibre cement.

Underlayment performs the same job as underlay, but consists of a smoothing compound or cement-based levelling compound that’s spread on top of a concrete subfloor.

The substrate is the layer immediately under the floor covering. If the covering is being installed directly onto the subfloor, the substrate is the subfloor. If an underlay is going in between them, the substrate is the underlay.

##### Learning activity

See if you can name a suitable floor covering and underlay or underlayment for the following two situations. State the brand name and describe the type of product it is for each item you choose.

- Vinyl tiles to go on a concrete floor

- Carpet to go on a particleboard sheet floor.

## Concrete slab subfloors

Concrete slabs are very popular in project homes and commercial buildings, especially in ground floor construction. The drawing at right shows a cross section of a typical on-ground slab for a brick veneer building. This type of building has an external skin of brickwork and an internal wall frame in timber or steel.

Because brickwork is porous and absorbs moisture, there is a cavity between the external 
and internal skins to stop moisture from seeping through and reaching the inside wall.

Near the bottom of the cavity is a damp proof course (DPC), also called flashing, which runs around the full perimeter of the building. Any moisture that does seep in through the bricks is caught by the DPC and channelled back outside through weep holes.

The brickwork sits on a rebate in the concrete, which helps to protect the inside floor from moisture penetration.

Underneath the slab is a waterproof membrane, also called a vapour barrier. Its purpose is to stop moisture in the soil from being drawn into the underside or sides of the slab. If moisture was allowed to enter, it would slowly rise to the top of the slab and cause moisture problems in the floor.

In residential construction, on-ground slabs are generally 100 mm thick, with increased thickness at the edges and wherever extra strength is required internally.

All structural slabs are strengthened with reinforcing steel, often called ‘reo’ by concreters. The steel is a combination of square mesh across the body of the slab and trench mesh in the footings and beams. They are joined together with tie wire.

One of the most common designs for an on-ground slab is the stiffened raft slab. The drawing at right shows an example of this type of structure. It is ‘stiffened’ by the beams, and is a ‘raft’ in the sense that it floats directly on the soil, without the need for piers or other deep footings.

Suspended slabs are often used in upper floors of buildings. Because of their weight, the internal supporting wall needs to be stronger than a timber frame, so they’re generally supported by brickwork. The drawing at left shows a cavity brick or double brick wall, with the slab protected from moisture by the cavity between the two ‘leaves’.

Sometimes in commercial buildings or multi-storey flats, the suspended slab is supported by both leaves of the double brick wall. In this case, flashing is used to collect any moisture that runs down the inside of the external wall.

There is also a ‘V’ in the underside of the slab to stop water from running across to the internal wall.

##### Learning activity

Flashing is sold in rolls and comes in a variety of materials. It’s not only used at floor level in a wall, but is built into the structure under window sills, on roofs (especially around chimneys, skylights and vents) and in various other places where joints might allow water to penetrate.

Do you know what materials flashing is made from? See if you can name at least three different types of material. Which one is most common around the base of an external brick wall?

## Timber framed subfloors

Most raised floors in domestic buildings use plywood or particleboard sheets as structural flooring, supported by a frame of timber joists. In ground floor construction the joists rest on bearers, which in turn are supported by brick piers, timber stumps or some other column or wall.

Occasionally steel framing is used for the bearers and joists, but the same structural principles apply.

This method is called platform flooring, because it allows the builders to work on a platform while they stand up the wall frames and fix them in position.

An alternative to platform flooring is called the cut-in or fitted floor. This is the traditional technique used in cottage construction when floors were generally made of tongue and groove timber boards. The walls sit directly on the floor joists and are erected before the floor boards are installed.

Cut-in floor

Although it’s harder work for the builders, it has the advantage of allowing the roof to be covered and the building waterproofed before the floor boards go down. So the technique is still used for tongue and groove strip flooring that’s fixed directly to the joists.

If the supports under the bearers are in direct contact with the soil, they need a termite shield placed on top. This is often called an ant cap (although it’s worth mentioning that termites aren’t really ants, even though they’re sometimes referred to as ‘white ants’).

The ant cap is designed to make any termite mud tubes that run up a wall or pier more visible, because when the termites get to the ant cap they need to build the tube around the edge to get to the timber above.

Ant caps are made from galvanised steel or some other durable metal. However, they are also protected from corrosion by a layer of DPC that’s placed immediately underneath, on top of the brick pier or wall.

Joists in upper floors often need to span further than ground floor joists, because the supports only occur wherever there are load-bearing walls or internal columns in the building. This is why these joists are generally ‘deeper’ (that is, have a greater size across the width of the piece), or are made from engineered products.

They also become the ceiling joists for the rooms below, which means they can be closed in on the underside with plasterboard or other types of sheet products.

##### Learning activity

Traditionally, bearers and joists in timber framed buildings were always solid timber. Ground floors typically used hardwood, and upper floors used oregon (also called Douglas fir) because of its excellent strength-to-weight ratio.

These days, however, the availability of timber species has changed a lot. Australian hardwoods and imported oregon are much more expensive and in shorter supply, while plantation pines have become readily available and more economical.

In addition, there are many engineered products now on the market that are suitable for use as joists or beams.

Can you name three different engineered products used as floor joists? What materials are they made from and what components are used in their structure?

If you have trouble coming up with the names of three products, have a look at the website for the Engineered Wood Products Association of Australia, at: www.ewp.asn.au/. This site contains a lot of information on these types of products.

## Structural sheet flooring

In the last lesson we mentioned that structural sheet flooring is usually made from particleboard or plywood. Below are some more details on these two products.

### Particleboard

Particleboard is also called chipboard, because it’s made from small chips of wood glued together and compressed in a high-temperature press.

Different types of formaldehyde glue are used in different grades of particleboard, depending on the end use of the product and the performance that’s expected of it. In the case of flooring, the glue is high strength phenol formaldehyde.

There are also various additives available, such as fungicides, termiticides and fire retardants, which can be specified if there’s a higher than normal risk of attack or damage. Some manufacturers also seal the edges of the sheet to protect it further from moisture.

The sheets have a groove along the two long sides, with a plastic tongue in one of the grooves.

Manufacturers tend to colour-code the tongue to identify the thickness of the sheet – so you’ll often hear people refer to particular products as ‘yellow tongue’, ‘red tongue’ and so on.

Particleboard flooring is designed to withstand exposure to the weather for three months. This gives the builder time to put down a platform floor and then install the wall frames, roof trusses, cladding and roof covering. The flooring is glued to the joists and nailed to help secure the sheets while the glue sets.

In some cases the sheets are used right across the entire floor, including in wet areas such as bathroom and laundries. However, for the flooring to be successful in wet areas it needs to be well protected from moisture with the use of flashing, surface sealants and careful building techniques. An alternative product in wet areas is compressed fibre cement, which is much more resistant to water.

### Plywood

Plywood is made up of several 'plies', or layers of wood veneer, glued together and bonded in a high temperature press. The direction of the grain in each layer runs at right angles to the layer above and below it.

This makes it stronger than particleboard, because timber fibres are very strong in the direction of their grain, and by alternating the layers the strength is spread in all directions.

The veneer is rotary cut on a lathe, and comes away in a long continuous sheet. It is then re-cut into sizes suitable for laying up into plywood and coated with a phenol formaldehyde glue. Once it has been pressed and allowed to cool, the sheets are trimmed to size.

Like particleboard flooring, plywood flooring has a groove machined into both long sides, with a plastic tongue inserted into one side.

Plywood is more durable than particleboard, and it can be treated with a light organic solvent preservative (LOSP) for extra resistance to insect attack and fungal decay. However, it still needs to be protected from constant exposure to moisture, so normal ‘wet area’ building practices still apply.

The veneer grade of plywood flooring is ‘CD’ – meaning a C grade top face and D grade back. C grade means that any knot holes or splits must be filled, and D grade means that knot holes, splits and other imperfections may be left open.

##### Learning activity

For more information on particleboard and plywood, go to the Engineered Wood Products Association of Australia (EWPAA) website at: www.ewp.asn.au/.

If you click on the ‘Library’ menu link, you will see a wide range of downloadable technical guides, fact sheets and video clips.

Have a look now at the topics available and follow up on the ones that interest you.

## Underlay board products

Strictly speaking, the underlay is not part of the subfloor, because it doesn’t perform a structural function. However, it does form the substrate underneath certain types of floor covering, and there may be times when you need to assess it as part of your subfloor inspection. The main board products used as underlay are hardboard, plywood, MDF and fibre cement. The standard thickness is 5mm to 5.5mm.

### Hardboard

Hardboard is made from wood fibres compressed into a sheet in a high temperature press.

In principle, the bonding is achieved entirely through the 'felting' process of the fibres and the natural glue, or lignin, already present in the wood. However, other chemicals can be added to improve the board's strength and resistance to moisture, insect attack and decay.

Hardboard is often referred to by the trade name 'Masonite', which comes from the Mason gun used to produce the wood fibres. In this process, the wood chips are steam heated in a high-pressure cylinder and then released into a cyclone, which causes the chips to explode into fibres.

### Medium density fibreboard (MDF)

Medium density fibreboard, or MDF, is manufactured in a similar way to particleboard, using the same sorts of glues and additives. The big difference is in the way the wood fibres are treated before they're pressed.

The wood is heated under pressure until the fibres and natural glues that bond them together soften, and then the fibres are rubbed apart to produce a much finer material for pressing. The end result is a sheet with a higher density and more even consistency than particleboard.
MDF underlay uses melamine and urea formaldehyde glue to make it more resistant to moisture than standard grade MDF. However, it still needs to be protected from moisture to stop it from rotting or swelling over time.

### Fibre cement

Fibre cement is made by bonding cellulose fibres with cement, sand and water.

Traditionally asbestos was used as the fibre reinforcement in ‘fibro’ products because of its excellent durability and low cost. However, asbestos fibres were found to cause serious health problems in people who breathed in the dust, and it is no longer used in Australia.

Fibre cement underlay is highly resistant to swelling, shrinkage, fungal decay and insect attack.

### Plywood

Plywood underlay is made in the same way as other types of plywood, using rotary cut veneers.

The top face is free from knots and other defects that may cause problems with the floor covering.

##### Learning activity

When you’re inspecting subfloors in older homes, it’s likely that you’ll come across asbestos fibro sheeting from time to time. Some homes also used asbestos-backed vinyl tiles and carpet underlay. These products are safe while they’re left undisturbed, but you need to take special precautions if you plan to pull them up or do any work that might damage them.

We’ll look in more detail at how to work safely around asbestos-based products in the unit: Safety at work. But for now, see if you can answer the following questions:

What types of safety precautions are needed to remove asbestos-based products? Where should these products go once they have been removed?

## Assignment 1

Go to the Workbook for this unit to write your answers to the questions shown below. If you prefer to answer the questions electronically, go to the website version and download the Word document template for this assignment.

___________________________________________________________________________

What is the difference between underlay and underlayment?

What does DPC stand for, and what is its purpose?

Briefly describe the characteristics of a ‘stiffened raft’ concrete slab.

Name two structural flooring products commonly used in platform floors.

Why do builders sometimes use a ‘cut-in’ floor system?

List four different types of hard underlay.

Fill in the correct terms in the drawing below.

What type of flooring system is shown in the drawing above?

# Section 2

# Moisture in subfloors

## Overview

Everyone knows how destructive water can be when it penetrates a building during a storm or flood. But most people don’t realise that moisture is permanently present in just about all building materials, and is constantly moving in and out of them through the process of absorption.

In this section, we’ll discuss the essential role that water plays in the formation of particular materials, such as wood and concrete. We’ll also examine the ways moisture moves from one medium to another as it tries to find a balance, or 'equilibrium’, wherever it is present. And we’ll look at the effect that these moisture changes can have on the building materials used in subfloors.

### Completing this section

The assignment for this section is designed to test your knowledge of how timber and concrete dries, and what effect the drying process has on their properties.

Have a look at the Assignment on page 31 to see what you’ll need to do to complete it.

- There are also five lessons in this section:

Relative humidity and moisture

Moisture in wood

Drying timber to EMC

Moisture in concrete

Drying concrete to EMC.

These lessons will provide you with background information relevant to the assignment.

## Relative humidity and moisture

Moisture is the presence of a liquid in small amounts. Generally the liquid is water, sometimes with trace elements dissolved in it.

Water is a very special substance, because it can exist as a solid, liquid or gas. In its solid form, it turns to either ice or snow, depending on how closely the ice crystals are packed together. As a gas, it becomes vapour or steam. In between these two states it is a liquid, and one of the essential ingredients of life – in fact, humans are made up of about 70% water.

### Relative humidity

The amount of moisture – or water vapour – suspended in the air is called relative humidity, often abbreviated to RH. It is expressed as a percentage and is ‘relative’ to the maximum amount of water vapour that the air can absorb at that temperature.

For example, if the RH is 50%, it means that the air is holding half of the total amount possible at that temperature. As the RH approaches 100%, the closer it gets to being fully saturated. Once it reaches saturation point, any additional moisture will result in condensation, or ‘dew’.

Amount of water in the air at 100% humidity

Because warm air can hold more water vapour than cool air, the actual amount of moisture present at any given RH level will be higher on a hot day than on a cold day.

The graph at left shows the amount of water that the air can carry between
-20o C and 50o C. You can see that at 50% RH (shown by the green line), every kilogram of air will contain nearly 50 grams of water when the temperature is at 50o, but once the temperature drops below zero, there is hardly any moisture at all.

The average relative humidity in different countries also varies, depending on the size and location of the landmass and sounding oceans. Because Australia is such as big continent, it too has big variations in average levels.

The map below shows the average annual RH readings around the country at various times of the day. It’s based on a map from the Building Code of Australia. You can see a more detailed version of this map on the Australian Bureau of Meteorology (BOM) website at: http://www.bom.gov.au/watl/humidity/

##### Learning activity

The map above uses mathematical signals to express ‘more than’ and ‘less than’. For example:

‘< 60%’ means less than 60%

‘> 60%’ means more than 60 %.

See if you can find where your own town or city is located on the map. What climatic zone does it fall into? What is the average RH at 9 am?

If you live in a regional area and you’re having trouble deciding which band it falls into, go to the BOM map at the web address shown. It shows many more towns and has more detailed zone bands.

## Moisture in wood

Living trees use an enormous amount of water to manufacture food and convert it into wood fibre. As a rough average, for every one tonne of wood produced, a tree will take about 1000 tonnes of water from the soil and transport it up to the leaves, where the process of photosynthesis takes place.

Hardwoods, such as the eucalypts, have pores (also called ‘vessels’) which join together to form pipes for transporting the sap. Strength is provided by the fibres, which have thick cell walls and make up the bulk of the wood.

Softwoods, such as the pines, don’t have pores in their cell structure. Instead, most of the woody tissue is made up of long narrow cells called tracheids, which transport the sap and also provide strength to the stem.

The amount of moisture that a piece of wood can hold depends on its density, or the quantity of solid wood fibre packed into a given volume. For example, balsawood is so porous that the amount of water held in a growing tree can be up to 4 times more than the weight of the woody tissue itself.

At the other extreme, ironbark has so much woody tissue in its thick cell walls that there’s not much space left to hold water, so the moisture in a growing tree is often less than half the weight of the wood fibres.

### How wood dries

When a log is freshly cut, the fibres contain a great deal of water, both in the cell cavities and the cell walls. Since the moisture in the cavities is free to evaporate once a cell has been cut, it is termed free water.

As the wood dries, the free moisture continues to evaporate until the cavity nearly dries out. Once that happens, the bound water, or moisture bound up in the cell walls, begins to evaporate. This point is called fibre saturation point, because the fibres are still saturated, even though the cell cavities are now almost dry.

Until fibre saturation point is reached, the biggest change in the timber is that it gets lighter as the free moisture is lost. After fibre saturation point, however, the cell walls begin to shrink and get stiffer. This is the process of seasoning.

### Calculating moisture content in wood

The moisture content (MC) of wood is usually expressed as a percentage. This simply represents the weight of the water contained in the piece, compared with the weight of the woody substance itself. That is:

Moisture Content (MC)  %  =               weight of water              x     100
weight of woody substance

The fraction part gives you the proportion of water to wood fibre, and multiplying it by 100 converts the fraction into a percentage.

For example, let’s say a piece of tongue and groove baltic pine flooring weighs 6 kg. Now let’s say that the woody substance itself makes up 5 kg of the total weight.   What is the moisture content of the piece?

MC	=  6 - 5  ×  100

5

=   1  ×  100

5

=   20%

In other words, if the woody fibres weigh 5 kg and the water weighs 1 kg, then the moisture being held in the wood will add 20% to the weight of the fibres.

##### Learning activity

Here’s a moisture content question for you to work out. Let’s say a piece of hardwood flooring weighs 4.4 kg, and the woody fibres in the board weight 4.0 kg.

What is the weight of the moisture in the board?

What is the moisture content of the board expressed as a percentage?

## Drying timber to EMC

All timber starts off green, that is, full of sappy moisture from the growing tree. Once the tree is harvested and processed into timber, it will begin to dry naturally – quickly at first, and then more and more slowly as the moisture content drops down below fibre saturation point. This point is around 30% MC in most species.

Eventually, the moisture in the timber will reach a level where it’s in balance – or ‘equilibrium’ – with the humidity in the surrounding air. This is called equilibrium moisture content (EMC).

In most indoor coastal situations, EMC is between 10% and 15%. In dry inland areas, or inside air conditioned buildings, it may be as low as 6 or 7%.

Seasoning is the process of drying timber down to EMC. It can be done naturally by simply exposing the timber to the air, although this can take some time depending on the species being dried. For example, many hardwoods take about one year per 25 mm of thickness to achieve EMC from a green state.

Alternatively, the timber can be kiln dried. Some kilns have solid concrete or block walls, while others have plastic membranes stretched over a frame.

Either way, they all use mechanical ventilation systems and heat and humidity controls to allow the timber to dry much faster under controlled conditions.

### Advantages of seasoning

Traditionally, building timbers were generally used in an unseasoned state, particularly in the days when house frames were built ‘stick-by-stick’ on-site. Even cypress pine floor boards were typically green, because cypress has a very low shrinkage rate when it dries, and the flooring was often covered with carpet or linoleum anyway.

However, most species of timber perform better when they are dry, particularly the plantation pines and high grade hardwoods. So it’s common practice these days to use kiln dried timber in just about all building applications.

### The changing nature of EMC

Once the timber reaches EMC, that doesn’t mean its moisture content will remain stable. As the humidity in the atmosphere continues to rise and fall, the EMC in the timber will change accordingly. This is why in wet weather you sometimes find that timber doors and drawers tend to stick. What’s happening is that the timber swells as it takes up moisture from the atmosphere and then shrinks back again when the dry weather comes.

Relationship between EMC, RH and air temp.

(adapted from the Hailwood-Horrobin equation)

The graph at right shows the relationship 
between EMC, relative humidity and air temperature. You can see that as the RH rises, the EMC will also rise. This is why the general definition of seasoned timber under the Australian Standards is timber with a moisture content of between 10% and 15%.

However, the definition goes on to allow for MC levels outside this range when they’ve been specified by the client, to cater for situations when the EMC is normally lower than 10% (such as in air conditioned buildings or dry inland areas) or above 15% (such as in very humid areas).

In practice, the timber’s moisture content won’t change immediately as the humidity in the surrounding air rises and falls. The speed of change will depend on various factors, including the cross-sectional size of the piece, whether there are any chemical treatments in it, and most of all, how exposed the surface of the wood is to the atmosphere.

So if the timber is properly sealed with a surface finish and protected from the weather, there will be hardly any movement at all in the short term. However, if the humidity stays very high or low, and the surface finish starts to break down and allow direct contact with the wood fibres, then the EMC will change much more quickly in response to the humidity levels.

##### Learning activity

We said earlier that seasoned timber generally has a moisture content of 10 to 15%, unless otherwise specified.

If the air temperature was 30o C, what would this equate to in terms of relative humidity?

Use the graph above to work out your answer as an approximate percentage range.

## Moisture in concrete

We’ve already talked about the importance of water in the growth of living wood fibres.

In a sense, concrete has a similar relationship to water – for the chemical reaction to take place that turns cement and aggregate into solid concrete, water is an essential ingredient.

Concrete forms when aggregate particles are ‘glued’ together with a cement paste.

The paste is made by mixing cement and water, which set sets off a chemical reaction called hydration. Once the mixture cures, or hardens, the concrete becomes a solid mass. A typical concrete mix is about 10-15% cement, 15-20% water and the rest in aggregate, generally a combination of sand and blue metal.

If you’ve ever mixed your own concrete by hand in a barrow, you’ve probably used the simple ratio of 4:2:1 – four shovelfuls of blue metal (or coarse aggregate), two shovelfuls of sand (or fine aggregate), and one of cement. Then you would progressively add water until the mix is fluid enough to place easily in position and trowel the surface to a smooth finish.

### Water and strength

The strength and quality of concrete depends on the proportions of the different ingredients. If there isn’t enough cement paste to fill all the voids between the aggregates, the concrete will be porous and the surface will come out honeycombed and rough.

If there’s too much paste, the surface will be easy to trowel, but the concrete will shrink more and crack over time. It will also be much more expensive, because cement is the dearest component in the mix.

So the trick is to get the balance just right, where the fresh concrete is workable and flows easily into the mould or formwork, but the hardened concrete is durable and strong.

In general, the highest quality concrete is made by using the least amount of water possible without sacrificing the workability of fresh concrete. However, this means that fresh concrete will have more water in it than is actually used up in the hydration process.

The excess moisture will remain in tiny pores throughout the concrete and gradually dry over time, until the concrete eventually reaches EMC with the surrounding conditions.

### Admixtures and strength

Admixtures are additives that are put into the mixture. They are used for a range of purposes, depending on the site conditions, prevailing weather or needs of the client. Some of the most commonly used admixtures are:

Air entraining, such as special detergents, which improves durability and workability and reduces freezing or thawing problems

Superplasticizers, which increase strength by reducing the amount of water needed to keep the concrete fluid and workable

Retardants, which slow down the setting time, especially in hot weather, to give the concrete more strength

Accellerants, which speed up the setting time and are particularly used in cold weather

Mineral admixtures, which improve workability, plasticity and strength

Pigments, which add colour to the concrete.

##### Learning activity

For more details on how concrete is made and how to work with it, go to the information manual published by Cement Concrete and Aggregates Australia (CCAA) called: Concrete Basics: A guide to concrete practice.

You can download it from the CCAA’s website at: http://www.concrete.net.au/publications/pdf/concretebasics.pdf

## Drying concrete to EMC

Effect of duration of water curing

on the strength of concrete

In general, the longer the concrete is kept moist, the stronger it will become – because the hydration reaction continues to bond the ingredients together for as long as there is water available.

Although most of the hydration occurs within the first month, it actually continues at a slower rate for years, and the concrete gets progressively stronger throughout that time.

The graph above shows the relative strength of concrete that has been cured for different periods of time. You can see that if the concrete was allowed to dry out immediately after it was poured, it would only achieve 40% of the strength it could have attained if it had been kept continually moist for 180 days. After 28 days of curing, it will achieve 95% of this 180-day strength.

The problem for builders is that although they know the best way to maximise the strength of concrete is to slow down the drying process, they also have a competing priority to finish the construction project in a timely manner.

So good building practice often involves a compromise – the concrete is protected from moisture loss in the critical first few days or weeks, and is then allowed to dry naturally while the work continues.

The simplest method of protecting concrete is to keep the formwork in place and cover the surface with an impermeable membrane, such as plastic sheeting. In domestic jobs this is often done for three days. In industrial projects it can be for one week or more.

Sometimes a liquid curing compound is sprayed on the surface, which then dries to form a membrane. These compounds include wax, resin or rubber emulsions. Admixtures can also be used in the concrete mix itself to retard the drying process.

### Achieving an equilibrium

Like timber, a concrete slab exposed to the air will eventually dry to a relative humidity level that’s in equilibrium with the surrounding atmosphere. The rule of thumb used by many flooring installers is that, under normal conditions, the slab will dry at a rate of 1 mm per day in relation to its thickness. This means that a 100 mm thick slab will take 100 days to reach EMC, and a 150 mm slab will take 150 days.

While this drying takes place, there is a moisture gradient in the slab. In other words, the relative humidity is less at the top of the slab and progressively increases with depth.

As the moisture continues to evaporate from the surface, the heavier concentrations of moisture below are drawn upwards.

### Caution on the rule of thumb

Although the 1 mm per day guideline is handy to know, in practice there are a lot of variables that can make the actual speed of drying faster or slower. These include:

- temperature and dryness of the surrounding air – higher temperatures and drier air will allow for a faster absorption of moisture

- air movement over the slab – the more circulation there is, the easier it will be for the air to carry away evaporated moisture

- coatings or contaminants on the surface – these will slow down evaporation

- moisture-resistant membranes on the surface – these will also slow the movement of moisture

- other forms of protection such as a roof and closed-in walls – these will shield the concrete from exposure to the sun and wind.

##### Learning activity

Have another look at the bar graph on the previous page, showing the strength of concrete in relation to curing time.

How much strength will the concrete have achieved if it is cured for 28 days?

(Note that this figure will be a ‘relative’ strength compared to concrete that has been cured for 180 days.)

## Assignment 2

Go to the Workbook for this unit to write your answers to the questions shown below. If you prefer to answer the questions electronically, go to the website version and download the Word document template for this assignment.

___________________________________________________________________________

- If the atmosphere has an RH of 50%, what does this mean?

What does EMC stand for, and what does the term mean?

What is the general moisture content range for timber that is ‘seasoned’?

When might you find that the EMC inside a building is below the normal ‘seasoned’ range?

Why do builders like to slow down the curing process in concrete?

What ‘rule of thumb’ is used by concreters to estimate the time it will take concrete to dry to EMC?

Give three reasons why this rule of thumb may not be accurate for a particular slab.

What is the purpose of an expansion joint in concrete?

# Section 3

# Inspecting subfloors

## Overview

You’re likely to carry out the subfloor inspection when you meet the client or builder on-site to do a measure-up.

It’s important that you get a good idea of the subfloor conditions and any problems that may exist before you start to cost up the project. This will let you tackle the issues with the client right at the outset and discuss what the problems are, how much work is involved in fixing them, and who will carry out the work.

Don’t let the client pressure you into turning a blind eye to any problems that might come back later to haunt you. And don’t let your own timetable or workload tempt you into taking shortcuts in the subfloor inspection or preparation work that needs to be done.

Remember, once you start the project, any problems with the subfloor will become your problems. And even if they’re not immediately obvious in the finished floor, you may still be held responsible for them at some time in the future if they affect the long term quality of the work you’ve done.

As a wise flooring installer once said:

You don’t have to carefully inspect every installation project 
– just the ones you don’t want to replace at your own expense!

In this section, we’ll discuss the flooring installer’s responsibility for inspecting the subfloor and testing it for moisture content. We’ll also talk about the sorts of things you should look in the subfloor and around the jobsite as part of your site assessment. Note that the actual process of carrying out a moisture test on the subfloor is covered in detail in the next section of this unit.

### Completing this section

The assignment for this section is designed to test your knowledge of the issues and problems you need to be aware of when you’re inspecting a timber or concrete subfloor.

Have a look at the Assignment on page 55 to see what you’ll need to do to complete it.

- There are also five lessons in this section:

Site safety

Australian Standards

Inspecting concrete subfloors

Inspecting timber subfloors

Checking subfloor ventilation.

These lessons will provide you with background information relevant to the assignment.

## Site safety

Safety requirements for different building sites vary, depending on the size of the jobsite. If you’re carrying out a site assessment at someone’s home, the conditions will be quite different from those at a high rise commercial building.

Obviously, the need to work safely never changes – your number one concern should always be to finish the day as fit and healthy as you began it.  But the compliance requirements will vary according to the scale of the project and the types of activities going on around you.

### Personal protective equipment

Some items of personal protective equipment (PPE) are only needed when you’re using certain tools or doing particular tasks. For example, if you’re going to use a hammer drill to put test holes in a concrete subfloor, make sure you wear hearing protection, safety glasses and a dust mask.

Other items of PPE are general site requirements, and will apply to everyone who comes onto the site. These generally include safety boots, and more often than not, a high visibility shirt or vest. On large projects you may be asked to wear a hard hat while you’re outside or near work being carried out overhead.

### White card

The White Card is the accreditation you receive from WorkCover once you've completed the Construction Induction Certificate. This short course is compulsory for all people who work on building sites.

Previously, different states and territories around Australia used different colours for the cards they issued, so you may still hear people calling it a Green Card or some other colour.

Whenever you're on-site you should carry the White Card with you, just in case you're asked to produce it by a builder or inspector. If you're going to a commercial jobsite, you're sure to be asked for it at the site office when you sign in.

### Electrical safety

Any electrical tools, extension leads and other mains power devices that you take onto a construction site need to have been tested and tagged by an authorised person. Because construction sites come under the category of ‘Hostile operating environment’, each of these items must be tested and tagged every month.

On large building projects, the site manager is likely to check that all your power tools and equipment have been properly tagged. They may also ask to see your ‘Electrical equipment register’, which lists each item together with its inspection date and the details of the person who tested it.

WorkCover produces template forms for the full range of registers and other Work Health and Safety documents commonly used on-site in their ‘Subbypack’. You can download the Subbypack at:

http://www.workcover.nsw.gov.au/formspublications/publications/Documents/subbypack_ohse_contractor_mangement_tool_0975.pdf

##### Learning activity

Below are some common safety signs used on building sites. Do you know what each one means?

Write down your answers and share them with your trainer and other learners in your group.

## Standards and guidelines

Every flooring installer should be familiar with the Australian Standards relating to the work they’re carrying out. The Standards not only set the benchmarks for what’s considered an acceptable job, they’ll also help to protect you if there is ever a dispute about the quality of the work.

This is especially the case when something goes wrong and the client wants to know who’s liable. Liability refers to the level of responsibility that particular people take for the problem, and who will pay to fix it. If you’ve followed the Standards in every aspect of the installation project, you’re always able to say that you’ve done your job properly and met all of your responsibilities as a professional installer.

It’s very important to be able to say this, because as an expert in your field people will have high expectations of you. The client will have taken it for granted that before you started the installation you made all the necessary checks and satisfied yourself that the site conditions were suitable.

If you believe there are problems with the subfloor, you need to tell the client at the outset and agree with them on a course of action.

It might mean that you carry out extra work to improve the subfloor conditions or bring in a specialist to do the work. Or it might mean that you turn down the job completely, or at least wait until the client has taken other steps to fix the problem.

### General provisions in the Australian Standards

Below are some of the general provisions in the Australian Standards relating to subfloor inspection. We’ll look at specific provisions to do with checking moisture content levels in the next section of this unit.

#### Requests for information from the client

As part of your site assessment, you should ask the client to provide the following information:

steps that have been taken to protect the walls and subfloor from rising damp

location of the air conditioning and/or heating systems

whether the subfloor ventilation complies with the Australian Standard requirements (as set out in AS 1684)

if the subfloor is concrete, the date it was completed, the thickness of the slab, whether curing agents were used, and any other details relevant to the floor covering  installation.

#### Report to the client

If you find problems with the subfloor or other aspects of the site, you should prepare a written report for the client or the builder. This will allow you to state what the issues are and how they can be addressed. Once the issues have been documented, you’ll be able to agree with the client on who will be responsible for carrying out the work.

### Other Standards and guidelines

In addition to the Australian Standards, there are various industry standards and codes of practice developed by organisations such as the Australian Timber Flooring Association (ATFA) and Forest and Wood Products Australia (FWPA).

When a flooring manufacturer or installer becomes a member of one of these associations, they enter into an agreement to comply with the association’s standards and codes.

This lets the business tell their clients that they’re part of an industry network that upholds a set of rules governing quality and performance. It also keeps them in touch with the latest trends in the industry and the expectations of customers in relation to service and quality.

So it’s often the case that a business has to comply with an association's standards and codes as well as the Australian Standards that apply to their work.

For the on-site installer, there is one more layer of standards that you need to comply with. These are the manufacturer’s instructions on how to use their products in the ‘approved’ way.

Like all of the standards and codes mentioned above, these guidelines are not only designed to give you the best results – they’ll also help to protect you if something goes wrong.

Manufacturers often provide a warranty that says they will replace a product or help to rectify problems if the product doesn’t perform as well as it’s meant to. But the warranty only applies when the product is used strictly in accordance with the instructions.

It’s another reminder that when you follow all of the standards, codes and guidelines that relate to the job you’re doing, you’ve got the backing of industry associations and manufacturers who develop them. You’ve also got the law on your side if there is ever a dispute about the quality of your work.

But if you take shortcuts or don’t follow the standards that apply to the work, you’re on your own when something goes wrong.

##### Learning activity

Which Australian Standards and industry standards apply to your work? If you’re not sure, ask your supervisor what they are and where you can get copies to read.

Note that you can buy your own copy of the Australian Standards by going to: www.siaglobal.com.au.

Write down the full title of each document that you need to be familiar with.

## Inspecting concrete subfloors

There are several things you need to check when inspecting a concrete subfloor. The single issue that has the most potential to cause a problem with a new floor covering is the concrete’s moisture content. Another factor is the surface pH – or level of alkalinity.

Because these tests are so crucial, we’ll cover them separately in the next section of this unit. So for now we’ll look at some of the other issues you should be aware of.

### Curing compounds

Curing compounds are used to seal the surface of fresh concrete to slow down the evaporation process. They’re generally sprayed onto the surface, but can also be rolled or painted on. The problem for flooring installers is that they stop glues and cement based toppings from bonding properly to the concrete.

Oxidising curing compounds are designed to break down over time in the sunlight, generally within 60 days. This should make them easy to sweep off when you start preparing the surface for the underlayment. But you can never guarantee that they will have fully broken down, especially if the slab hasn’t been in the open weather for this whole period of time.

Permanent curing compounds are designed to seal the concrete surface until they’re removed mechanically.

The simplest way to test whether there’s a curing compound, sealant or other non-porous substance on the concrete is to use the water drop test.

Put some drops of water, about the size of a 50 cent piece, on the surface and watch what happens.

If the water soaks into the floor within 60 to 90 seconds, the surface can be considered clean – at least in that area of the floor.

If the water beads up, it means there is still a film of non-porous material present.

To remove a curing compound, you’ll need to use some form of concrete grinding or blasting equipment. We’ll talk more about mechanical abrasion techniques in the unit: Concrete grinding.

### Laitance

Laitance is a powdery or milky layer of cement and sand on the surface of concrete. It’s often caused by over-watering the fresh concrete or over-trowelling the surface. Sometimes it occurs when the concrete has dried too quickly because it didn’t have a curing membrane on top.

The problem with laitance is that it’s loose and friable, and can easily ‘delaminate’ from the solid concrete below, so any glue or topping applied to it won’t be properly bonded to the slab.

Before you decide on how to remove the laitance, you need to determine its depth. Do this by scratching the surface with a steel edge. If it’s only a surface film, the laitance can be removed by acid etching. If it’s more serious, you may need to blast the concrete or use a grinder.

### Surface contaminants

Contaminants include oil, grease, wax, and any other substances that might prevent the glue or topping from boding to solid concrete. Like laitance, you need to find out how deep the contaminants have penetrated into the pores of the concrete before you decide on the best method for removal.

For example, a light film of grease on the surface might be able to be removed by scrubbing with a commercial detergent or degreaser. For contaminants that have penetrated deeper, the only solution may be to grind or blast the surface till you get to clean concrete.

### Cracks

Most cracks occur as a result of shrinkage during the drying process. Small cracks can easily be filled with an epoxy or polyurethane compound. Larger cracks may need to be injected with epoxy or filled with a patching compound.

We’ll cover this in more detail in the unit: Smoothing and patching.

### Expansion joints

Expansion joints are put into concrete at regular intervals to allow for expansion and contraction due to temperature changes in the slab.

The number and design of the joints will depend on the building design and size of the slab.

You’re less likely to come across expansions joints in domestic projects because the slab floor will generally be too small to need them. But on large commercial projects there may be joints at regular intervals across the floor.

These joints should never be filled with a patching compound, because it will crack when the concrete moves.

Instead, the joint is generally covered by a cover plate in accordance with the specifications for the project.

### Planeness and smoothness

The Australian Standards set limits on the amount of deviation that’s allowed from a smooth flat surface. These tolerances vary depending on the type of floor covering installed.

There are also industry standards and manufacturers’ recommendations for particular products. These might set stricter limitations than the Australian Standards.

Below are the tolerances set out in AS 1884-2012 for resilient floor coverings.

Planeness: When a 2 metre long straightedge is placed on a concrete floor, resting on two points that are 2 metres apart, the maximum deviation from planeness (or ‘flatness’) is 4 mm.

Smoothness: When a 150 mm long straightedge is placed on a concrete floor, resting on two points, the maximum deviation is 1 mm.

We’ll look at the techniques for measuring planeness and smoothness in more detail in the unit: Smoothing and patching.

### Irregular surfaces

If the concrete has hardened before the concreter was able to achieve a good quality trowel finish, there may be grooves or roughness in the surface. These will need to be ground down and coated with a smoothing or patching compound.

Spalling is a more serious problem. This occurs when the steel reinforcement inside the concrete begins to rust and expand in size. The first symptoms are generally rust stains and a flaking surface.

The condition is sometimes called ‘concrete cancer’, and if left untreated it can cause major structural damage to the slab.

Before you can treat spalling you need to know exactly what caused it. In some cases it could be because the steel was originally placed too close to the surface or edge of the slab, allowing water to come into contact with it. In other cases it could result from cracks or damage that have allowed the water to get in.

If the problem is too serious for you to handle with patching compounds, the only solution is to tell the client that a specialist will be needed. This is something they may wish to organise themselves or ask you to handle on their behalf.

##### Learning activity

Even if you’re not familiar with expansion joints in concrete, you’re sure to have walked over the top of many joints in slab floors – such as in shopping centres, supermarkets and warehouses.

Next time you’re in a shopping centre or other large building, have a look for the expansion joints in the floor. Take photos on your mobile phone and share them with your trainer and other learners in your group.

To get an idea of the range of expansion joint designs and cover plates used on concrete floors, do an 'image' search on the internet to see some examples of available products.

## Inspecting timber subfloors

Most of the problems that tend to occur with timber subfloors are also related to moisture, which we’ll deal with in the next section. So in this lesson we’ll cover the main things you should check on the surface of a timber subfloor, and in the next lesson we’ll look at the issue of subfloor ventilation.

### Gaps between boards

Older houses with tongue and groove (T&G) strip flooring will often have gaps between the boards. This is because it was once common practice to use green (unseasoned) boards, particularly in cypress pine, and simply lay them upside down on the floor while the rest of the construction was taking place.

Once the building was closed in and weatherproofed, the boards were turned over, cramped together and nailed in position. As they continued to dry over the years, the boards would shrink and small gaps would appear.

If the gaps are wide enough to show through the floor covering, the easiest remedy is to either fill them with a suitable compound or cover the floor with a hardboard or MDF underlay.

### Blown floors

‘Blown’ floors are caused by boards that have swelled – which is the opposite problem to a floor with gaps. That is, for the timber to swell it has to be taking up moisture from somewhere.

Sometimes the moisture problem will since have been fixed, but often it’s a continuing issue that needs to be addressed.

In mild cases the individual board may ‘cup’, or the grain may fracture and lift as the wood fibres are compressed.

In more serious instances the boards may start to pull through the nails and lift off the joists, or pull the joists up with them. In the worst cases the floor may push out wall frames and even crack brick walls or stonework.

The causes can include:

poor subfloor ventilation, allowing moisture to be absorbed by the floor boards

flooding as a result of a storm or burst water pipe

floor boards with a moisture content that was too low when they were installed

an installation job that didn’t leave enough of a gap around the perimeter of the floor to allow for natural expansion in humid weather.

### Squeaky floors

Squeaks are caused by adjacent parts of the floor rubbing against each other when they’re walked on. It especially occurs in T&G joints and butt joints, both in strip flooring and sheet products.

The most common causes are:

uneven shrinkage in the joists, allowing a gap to form where the joist has shrunk away from the board or panel above it

too great a span across joists, causing excessive deflection in the board or panel

loose-fitting or broken tongues and grooves

nails that have missed the joist underneath, and rub against the side of the joist when the flooring is walked on.

In some cases you may be able to fix the squeak by going under the floor and filling the gap between the joist and flooring with a packing piece, such as an off-cut of fibre cement or a folded piece of flashing. In general, you should re-nail all boards or sheets wherever there is movement.

For structural problems, such as a span that’s too wide for the flooring product being used, you might need to call in a carpenter to install extra joists.

### Contaminants and old surface finishes

Timber subfloors must be clean and free from oil, grease, wax, dirt, varnish, shellac or any other substance that will affect the glue’s ability to bond to the surface. It’s likely that you’ll need to sand the floor down to bare timber with a commercial drum sander. This will also help to smooth out any bumps or uneven surfaces.

### Termites

Although there are about 300 species of termites in Australia, only a dozen or so are a problem for timber in buildings. Most termites feed on grass and roots, as well as living trees and decaying wood.

Termite colonies can contain up to several million members, so when they find a good source of food they’re capable of causing a lot of destruction.

The termites that cause the most damage to building timbers are the subterranean species. They typically have their nest in a tree or partially decayed piece of wood buried in the ground. From here, they tunnel through the soil looking for food.

Because they need to be protected from daylight and the external atmosphere, they always leave a thin veneer on the outside of the timber they’re eating. This is why infested timber often has a drummy or papery sound when it’s tapped.

In a building, termites sometimes build mud-covered shelter tubes over the foundations and up piers or walls to get to the sub-floor timbers.

Although ant caps aren’t able to stop their progress, the caps do make the tubes more visible when an inspection is carried out. We discussed ant caps in the lesson: Timber framed subfloors, back in Section 1.

If you find live termites in a building, the best thing to do is cover over the runway, and then call the pest controller.

You should disturb them as little as possible, so that the pest controller can work with the active runway to get access to the nest, which may be some distance away.

##### Learning activity

In addition to termites, there are various other organisms that attack building timbers. These include decay fungi and borers. One of the main ways of minimising the chance of attack is to use good building practices, such as providing adequate subfloor ventilation. We’ll talk more about this in the next lesson.

For more information on the organisms that attack timber and the types of damage they cause, have a look on the internet at some of the pest controllers’ websites. Simply type ‘termites’ or ‘timber pest control’ or any other suitable key words into your search engine to see the huge range of sites available.

Once you’ve looked at the types of insect attack and fungal decay that tend to affect timber subfloors, see if you can find some examples of your own. Do a ‘pest inspection’ of your own home or of another building with a raised timber floor. Also look for other problems that would need to be fixed if you were going to put a new floor covering on top.

Take digital photos of any problems you find. Share the photos with your trainer and other learners in your group. If you’re uploading the photos to a social media site or sharing them via email, make sure you provide a brief written description of the problem that you have discovered and how you think it has occurred.

## Checking subfloor ventilation

Moist soil and humid air under a subfloor can lead to several problems, including:

subfloor timbers and flooring products absorbing the moisture, resulting in cupped boards and other damage as the wood fibres swell

increased chance of termite attack, since subterranean termites prefer moist conditions

likelihood of fungal decay in the timber, since fungal spores need a moisture content of at least 20% to thrive.

There are various ways that moisture can seep into the ground under the floor. Some buildings have drainage problems, which allow rainwater to pool against an external wall and seep through. Other buildings have garden beds built up against the outside wall, so that even in dry weather the moisture seeps through whenever the garden is watered.

Building codes and local council regulations specify the minimum standards for storm water drainage, ground level grades and subfloor ventilation designs. But that doesn’t mean you won’t see any problems in your inspections.

Older houses, in particular, often have downpipes that are blocked or broken and ground levels that have changed over the years. They’re also likely to have had renovations done that blocked off subfloor air vents or changed the airflow in some way under the house.

The drawing at left is adapted from a diagram in AS 3660, which covers termite management and subfloor ventilation. It shows the minimum clearance requirements between the ground and the underside of the subfloor.

You can see that although the minimum clearance is 150 mm on the inside of the external wall, the ground must slope away to provide at least 400 mm clearance within 2 metres of the wall. This open space allows the air to move more freely under the subfloor. It also enables a person to climb in and inspect the area for termites, fungal decay and other building problems.

The general Australian Standard requirement for the spacing of air vents is that they should be placed within 600 mm of corners and be spaced evenly around the perimeter walls of the building. Their size and spacing depends on the design of the vent and the amount of air it allows through.

Terracotta vents, like the one at left, were once a standard feature in brick veneer dwellings. Their problem was that the very small holes restricted the passage of air. These have been replaced in more recent years by wire mesh vents, such as the one below.

The current requirements on vent sizes and spacing are set out in the Building Code of Australia (BCA) and other documents used by government regulators. The table below is taken from the BCA and shows the minimum ventilation requirements when the ground is exposed.

| Minimum subfloor ventilation (mm2 / metre) (with no membrane on the ground) |  |
| --- | --- |
| Climate zone | mm2 per metre of wall |
| 1 | 2000 |
| 2 | 4000 |
| 3 | 6000 |

To read the table, you need to know what climate zone the site is in and how much ventilation space is available in each vent. You can refresh your memory on climate zones by going back to the map on page 21.

To find out the ventilation area in each vent, you can look up the manufacturer’s specifications and read it off in square millimetres (mm2). But for the sake of the exercise, let’s work it out mathematically for the terracotta vent shown in the photo above.

If you put a tape measure on the individual holes in the terracotta vent, you’ll find that they measure 16 mm x 16 mm.

There are 15 holes in total, so the ventilation area is:

16 mm x 16 mm x 15 holes = 3,840 mm2.

This is very a very small area, which is why terracotta vents are no longer used. By contrast, the wire mesh vent pictured above has a ventilation area of 14,200 mm2.

### How to calculate the number of vents needed in a wall

Let’s say you are inspecting the subfloor area of a building in Climate Zone 3, and you’re looking at a wall that is 8 metres long.

The building uses old-fashioned terracotta vents with an opening size of 3,840 mm2.

How many vents should there be in the wall?

1. Find out what the total ventilation area should be in the wall

In climate zone 3, the minimum requirement is 6,000 mm2 per metre of wall.

This wall is 8 metres long. Therefore, the minimum requirement is:

8 (metres) x 6,000 (mm2) = 48,000 mm2

2. Divide the total area by the area of one vent

48,000 mm2 ÷ 3,840 mm2 = 13 vents (rounded up to the nearest whole number).

### A note of caution

It’s important to note that the BCA table is only designed to show the minimum ventilation requirements for subfloor framing timbers. It’s not necessarily going to provide enough ventilation for tongue and groove strip flooring laid directly on joists.

The Australian Timber Flooring Association (ATFA) recommends that for this type of floor, there should be a minimum vent space of 7,500 mm2 per metre of wall. For more information on the variables that apply to these ventilation figures, have a look at the ATFA publication: ‘Timber Flooring’.

You can buy a copy of Timber Flooring direct from ATFA by ordering it through their website at: www.atfa.com.au. If you are an apprentice or trainee, you can join ATFA for free as a member and get a free copy of this manual at the same time. For more information, go to the Join ATFA page of their website.

##### Learning activity

See if you can calculate the number of vents needed in a wall. Let’s say you’re inspecting a building in Climate Zone 2 and the subfloor walls have wire mesh air vents. The wall is 12 metres long, and the opening size of each vent is 14,200 mm2.

How many vents are needed?

When you’ve finished the calculations, check the answer with your trainer to see if you’re right.

Note that there are many different designs and styles of subfloor air vents. What types of vents are used in the building you’re in right now? Go outside and have a look. If you’re not in a building that has a raised floor, see if you can find a nearby building with subfloor air vents.

## Assignment 3

Go to the Workbook for this unit to write your answers to the questions shown below. If you prefer to answer the questions electronically, go to the website version and download the Word document template for this assignment.

___________________________________________________________________________

- What is a ‘White Card’ and who needs to have one?

Name four items of personal protective equipment you may need to take on-site when you carry out a subfloor inspection.

Why is it important for flooring installers to have a good understanding of the Australian Standards that relate to their work?

How should you advise the client if you found a problem with the subfloor that needed to be fixed?

What is the purpose of a curing compound on a concrete slab?

Describe a simple test for finding out whether the surface has a curing compound on it.

What does ‘laitance’ mean and why is it a problem?

State the tolerance for ‘planeness’ in a concrete floor (as specified in AS 1884).

State the tolerance for ‘smoothness’ in a concrete floor (as specified in AS 1884).

Name two causes of ‘blown’ timber floor boards.

What should you do if you find live termite activity in a timber subfloor?

Give two reasons why good subfloor ventilation is important.

# Section 4

# Measuring moisture  
and pH

## Overview

Most clients want their installation completed quickly, or within a time frame that suits their overall project plan.

Sometimes they’re not too concerned about the subfloor conditions because they see it as your responsibility. That is, if something goes wrong with the floor at some time in the future, you’ll be liable for it, so they don’t have to worry about it.

This is an important point to keep in mind, because there’ll be occasions when you’re put under pressure to carry out an installation before the moisture content has reached an acceptable level. However, you’re doing yourself and the client a very big favour by being methodical in your moisture testing, and careful in your professional judgement as to whether the subfloor is ready for the installation.

In this section, we’ll examine the process of carrying out moisture tests on concrete and timber subfloors and discuss the main types of test equipment used. We’ll also look at the process for measuring pH levels in concrete.

### Completing this section

The assignment for this section is designed to test your knowledge of the different types of testing methods and the way the results should be recorded.

Have a look at the Assignment on page 78 to see what you’ll need to do to complete it.

- There are also six lessons in this section:

Principles of moisture testing

Insulated hood test

In-situ probe test

Electrical resistance meters

Other moisture testing methods

Measuring pH levels

These lessons will provide you with background information relevant to the assignment.

## Principles of moisture testing

While concrete is drying, the surface will generally have a lower moisture content than deeper down in the slab. So you won’t really know how much moisture is present if you only do a surface test.

It’s also the case that slabs often have integrated beams and other areas of thickening where extra strength is required. This means that these parts will dry more slowly than the rest of the slab.

So you should do at least one test for each level of concrete (or each separate concrete pour) where the thicker areas are.

You also need to test the slab in a range of places to make sure there are no other areas with unusually high concentrations of moisture.

The same principle applies to timber subfloors. Different timber components may have had different moisture contents when they were installed, depending on whether they were supplied kiln dried or green from the sawmill.

There could also be particular areas in the building with moisture problems – such as through leaking water pipes, poorly sealed flashing or subfloor ventilation problems.

Again, you’ll need to test the subfloor timbers in various places to make sure you’ve got an accurate picture of the moisture levels.

### RH and MC levels

The Australian Standards for textile floor coverings and resilient coverings specify different relative humidity (RH) or moisture content (MC) levels, depending on which moisture testing method is used. These are summarised on the next page. We’ll talk about how to physically carry out these tests in the following lessons.

Note that the figures shown below are general specifications in the Standards. Manufacturers of adhesives, coatings, levelling compounds and floor coverings may have different specifications listed in their installation guidelines. There may also be particular regions in Australia where these general limitations are not appropriate, such as in North Queensland where the atmospheric RH can stay very high for long periods of time.

RH ‘surface-mounted insulated hood test’ in concrete.

Maximum RH: 70%.

RH ‘in-situ probe test’ in concrete.

Maximum RH: 75%.

MC test in timber.

Moisture content range: 10-14%.

(Note that for timber floor coverings, the MC range is 9-14% for all species, except cypress, which is 10-15%.)

For concrete subfloors, three tests need to be carried out in the first 100 m2 of floor, plus one extra test for every additional 100 m2. Tests may also need to done in other positions, depending on the structure of the floor.

### Testing methods

For testing RH in concrete, AS1884-2012 (the new resilient flooring Standard) follows the ‘in-situ probe’ testing methods set by the American Society for Testing and Materials (ASTM). On the other hand, AS/NZS 2455.1:2007 (the older but still current Standard for carpet) uses a modified version of the ASTM ‘insulated hood’ test.

We’ll describe both of these methods in the following lessons, but if you want to see the full details you should look up the original ASTM documents:

ASTM F2170-2011 – Standard test method for determining relative humidity in concrete floor slabs using in situ probes

ASTM F2420-05 (Reapproved in 2011) – Standard test method for determining relative humidity on the surface of concrete floor slabs using relative humidity probe measurement and insulated hood.

But remember, in addition to following the methods described in the ASTM documents, you still need to comply with the instrument manufacturer’s instructions. Occasionally, you might find that the ASTM and instrument manufacturer say two different things. In these cases, you should ask the floor covering manufacturer how to proceed.

For timber subfloors, the testing methods are defined by the Australian Standards. Again, we’ll describe the general methods later in this section, but if you wish to see the original documents, go to:

AS/NZS 1080 – Timber – Methods of test – Method 1: Moisture content

AS/NZS 2098 – Methods of test for veneer and plywood.

### Test report

It’s in your interests to fully document the testing you carry out, and record the following details:

jobsite address

type of subfloor tested, slab thickness and depth of the holes that you’ve drilled

date and time of testings

where the tests were carried out (with the positions marked on the floor plan)

what the moisture and pH readings were (preferably with photographic evidence)

subfloor temperature, ambient temperature and RH at the time of testing

test equipment type, make, model, serial number and calibration status.

The ‘calibration status’ of the equipment refers to the date it was last calibrated or checked for accuracy. Depending on the type of device it is and the support services provided by the supplier, there may be a recommendation in the instruction manual for the unit to be serviced and calibrated at scheduled times.

##### Learning activity

Most flooring installers use a template-style checklist to record the details of their site assessment. Does your company have a checklist? If you’re not familiar with it, ask your supervisor whether you can have a copy to look at.

On the next two pages is a sample template of a moisture test report. You’ll notice that it has space for recording the important details relating to the subfloor. It also has a grid for drawing a floor plan and marking where the moisture tests were carried out.

Compare your own company’s checklist with this template version. Are there any parts in your company’s checklist that aren’t covered in this template? Are there any parts in this template that your one doesn’t have?

(Note that if your own checklist is a full site assessment form, you only need to look at the section relating to moisture testing.)

Template moisture test report

## Insulated hood test

The surface-mounted insulated hood test works on the idea that moisture will progressively rise to the surface of a concrete slab and evaporate into the air, so if you trap the vapour above the surface you can measure the air’s relative humidity.

There are several types of hygrometer designed to measure RH in a contained atmosphere.

The traditional synthetic hair hygrometer has a hair that changes length in response to the RH level. The length is measured by a gauge on top of the unit. A more modern variation uses a moisture-sensitive probe inside the sealed box. This is attached to an electrical cable that can be connected to an external unit with a digital readout.

### Using a relative humidity probe and insulated hood

For slabs at ground level or below, it’s best to place one hygrometer in the centre of the room and others within one metre of all exterior walls where floor coverings will be laid.

Carry out as many tests as needed to meet the requirements of the Standard. In particular, choose areas that might be susceptible to high readings, such as entryways and walls near garden beds.

At each test location, clean the concrete surface back to bare porous concrete. Remove all traces of curing compound, adhesive residue, and anything else that might impede the free flow of vapour.

You can check that there’s no burnished or non-porous surface material by doing the ‘water drop’ test. (See page 42 for details.)

Once it’s clean and free from dust, leave the test area exposed for at least 24 hours.

Place the insulated hood on the test area and seal it off from the surrounding air. Some installers use plumbers putty, others use several layers of insulation tape. Either way, it’s important that the seal is completely airtight.

Leave the hood in place for at least 72 hours. Note that if the slab is 200 mm thick or more, or if it has a low porosity, you might need to wait a lot longer than 72 hours for the air chamber inside the hood to reach moisture equilibrium. In these situations it might be better to use the in-situ probe test (see next lesson).

The way the reading is taken will depend on the model of instrument. Some hygrometers, such as the ‘Delmhorst’ unit shown on the previous page, require a probe to be inserted into the hood. Others, such as the ‘Tramex Hygrohood’ at left, have a built-in digital readout.

Be careful of ‘drift’ in the readings – the meter reading must not drift by more than 1% RH over a 20 minute period.

Hygrometers need to be recalibrated three times a year to make sure they’re giving accurate readings. They should also be handled carefully and not left inside a hot car, because they’re very sensitive devices and can be damaged easily.

##### Learning activity

There are lots of YouTube video clips produced by the manufacturers of moisture testing equipment. These videos are designed to promote the company’s own products, so naturally they show them in the best possible light. However, as long as you keep this in mind, the videos are very helpful in demonstrating how particular systems works.

The link below will take you to a clip produced by Tramex demonstrating their ‘Hygrohood’.

http://www.youtube.com/watch?v=EoNzaG7YLoU

Have you used the hood method to measure RH in a slab? What brand of hygrometer did you use? If you haven’t used one before, do you know of any other manufacturers of hygrometers? Find out as much information as you can about the hygrometer you’ll be using in preparation for the practical assessment demonstrations.

Share your answers with your trainer and other learners in your group.

## In-situ probe test

The in-situ probe test is now the main test method specified under AS 1884-2012. It’s sometimes called an ‘invasive RH test’, because test holes need to be drilled into the slab.

Sensor probes are inserted into the holes, enabling them to take RH readings well below the surface of the slab.

The location of the holes will depend on the size and shape of the slab. You can look for areas that might have high RH levels by using a capacitance meter.

Although the capacitance meter can’t be relied on as a final test in a concrete subfloor, it can help you to decide where to place the probes. For more details on capacitance meters, see the lesson: Other testing methods.

The depth of the holes will also vary depending on whether the slab is drying from one side only or from both sides. On-ground and below ground slabs (also called ‘on grade’ and ‘below grade’) can only dry from one side. Suspended (or ‘above grade’) slabs are able to dry from two sides when the underside is exposed to the air.

### General procedure

1. 	For slabs drying from one side only, drill a hole to a depth of 40% of the slab thickness. (That is, if the slab is 100 mm thick, drill a 40 mm deep hole.)

For slabs drying from both sides, drill a hole to 20% of the slab thickness. (20 mm in a 100 mm thick slab.)

Make sure you measure the depth of the hole to ensure it’s accurate, because this is critical to achieving a precise RH reading.

2. 	Clean out the concrete dust carefully with a wire bristle brush and vacuum out the hole.

The manufacturer of the instrument will probably have included a brush and vacuum attachment in the kit for this purpose.

3. 	Insert a plastic liner into the hole and check that it goes right to the bottom. Seal the hole with the cap supplied by the manufacturer.

4. 	Allow the test hole to equilibrate with the slab for at least 72 hours.

5. 	Insert a probe into the sleeve and wait an hour or two for it to acclimatise. Note that the probe will need to reach the same temperature as the concrete before it will give an accurate reading – even a small difference in temperature can result in a significant error in the RH measurement.

6. 	Connect a meter to the probe and take an RH reading. Check that the reading doesn’t drift by more than 1% RH over a 5 minute period. Equilibration may take from several hours to several days, depending on the type of meter being used and the initial temperature difference between the probe and the concrete.

Repeat this process for each of the test holes you have drilled. When you’ve finished taking the readings, remove the probes and the top lip of the sleeve. The holes can then be filled with a cement-based patching compound and smoothed off.

An alternative version to the in-situ probe is the Rapid RH 4.0 EX. It has a ‘smart sensor’ that’s inserted into the lined test hole and left to equilibrate for 72 hours. After this time the ‘Easy Reader’ is inserted into the hole until it makes contact with the sensor, and the RH measurements are taken almost immediately.

Although these probes are not reusable, they can be left in the slab for up to six years, allowing the RH levels to be monitored throughout that time.

### Cautions

Some floors you come across may have had a silicate-based moisture barrier installed, such as Protect Crete Moisture Fix 1, Aquron 2000 or Deflecta. (We’ll talk about the process of applying these moisture barriers in the unit: Concrete moisture barriers.)

These sorts of floors are not suitable for an in-situ probe test, because if the moisture barrier has been applied correctly, it will give you an incorrect reading. One of the tell-tale signs that this type of moisture barrier is in place is a high RH reading from the in-situ probe and a pH reading of between 7 and 9.

If a moisture barrier has been installed, you should use the insulated hood test method.

##### Learning activity

The Rapid RH probe shown above is manufactured by Wagner Electronics. You can see an instructional video clip on how it works at:

http://www.wagnermeters.com/video-install.php

Have you used an in-situ probe before? If so, what brand was it?

If you haven’t used one before, do you know of any other manufacturers of these RH probes? Do a web search and find a manufacturer. Name the brand and briefly describe how the probe is used.

## Electrical resistance meters

An electrical resistance moisture meter is mostly used for measuring timber moisture content. It has two pins, or ‘electrodes’, which are hammered or pushed into the timber.

An electric current is passed between the electrodes and the amount of charge that gets through is measured.

Moisture meters work on the principle that water is a good conductor of electricity, but wood is not. So the higher the charge, the more water there must be in the wood.

This is a simple rule that works reasonably well for timber, but you need to remember that the meter is measuring electricity, not moisture. This means that any other substances that conduct electricity, such as certain chemical additives, will give false readings.

It’s also the case that moisture meters are calibrated to measure Douglas fir (also called oregon). So you have to apply a conversion factor when you measure other species to get an accurate reading. The result also needs to be adjusted to allow for different temperatures in the wood, because higher temperatures tend to lower electrical resistance.

Another important factor is the depth of the electrodes in the wood. If the wood is still drying, the moisture content will be highest near the core, so you have to make sure you’ve pushed the electrodes in far enough to reach this area of the piece.

The moisture content range in timber subfloors should be between 10% and 14% for resilient floor coverings and 9 to 14% for timber floor coverings.

Note that in air conditioned buildings it could be less, particularly if the windows are sealed and there is no direct access to outside air. This is because air conditioners tend to de-humidify the atmosphere.

The levels could also be less in some dry inland areas where the atmospheric RH is typically low. By contrast, in tropical areas where the humidity remains high for long periods of time, the EMC may be as high as 17% during the ‘wet season’. In these cases, you should discuss the local conditions with the builder or local council before proceeding.

### Moisture meters and concrete

It’s possible to measure the moisture content in concrete with an electrical moisture meter. Two holes are drilled into the concrete and filled with a liquid electrode. The pins are inserted and an electrical current is passed between them.

But note that this method of testing concrete is no longer permitted under AS 1884-2012. One of the reasons is that the electrodes won’t penetrate far enough into the concrete to provide an accurate RH measurement. Another problem is that the meter can give distorted readings if there are additives in the concrete.

##### Learning activity

The link below will take you to a clip produced by Delmhorst descibing their BD-10 ‘pin type’ moisture meter.

http://www.youtube.com/watch?
v=XUc2lHZ5WD0&feature=relmfu

Have you used an electrical resistance meter to measure moisture content in wood or concrete? What brand was it? If you haven’t used one before, do you know of any other manufacturers of these types of moisture meters?

## Other moisture testing methods

### Capacitance test

Capacitance moisture meters use radio waves to measure the moisture content inside the material being tested. They have in-built transmitting and receiving pads which pass the radio wave through the material and measure the capacitance, which is directly related to the amount of water present.

These meters are ‘non-invasive’, in the sense that they sit on the surface and don’t need test holes. They’re used on a wide range of materials, including concrete, wood, vinyl and ceramics.

For timber floors, they are a quick and easy way to measure moisture, although they are generally not quite as accurate as electrical resistance meters. They also require a correction factor for different timber densities, because of the effect that density has on the way radio waves travel through the wood fibres.

For concrete floors, they have the same problem as other methods that only measure moisture near the surface. This is because the radio waves only penetrate to a depth of about 25 mm. They can also show false readings in concrete if there are additives or large pieces of aggregate or reinforcing steel near the surface.

Although capacitance meters are accepted by the Australian Standards as an approved way of testing timber, they are not permitted for concrete. Nonetheless, they are still a useful tool for finding out where the wetter areas are in a concrete floor so that you know where to drill the test holes for sensor probes.

### Calcium chloride test

The calcium chloride test was once considered normal practice in America for determining moisture levels in concrete floors, and was written into the American Society for Testing and Materials (ASTM) Standard.

However, over the years many of the floors that were originally assessed as acceptable with this test were later found to have developed moisture problems. As a result it has fallen out of favour with flooring installers and has now been removed from the ASTM Standard for testing lightweight concrete. It is also no longer permitted under AS 1884-2012.

The test is designed to measure the moisture vapour emission rate (MVER) of a slab, which makes it similar in principle to the surface-mounted insulated hood test.

In this test the moisture is absorbed in a small mound of calcium chloride salt, which is placed on the concrete surface and sealed with a plastic dome. The increase in weight of the salt is used to calculate the relative humidity in the slab.

The biggest problem with the test is that it can only measure the rate of moisture loss in the very top of the slab, and can’t take account of the higher concentrations deeper down. It also tends to underestimate moisture levels that are high and overestimate levels that are low.

##### Learning activity

Wagner Electronics have produced a video clip that explains the problems with the calcium chloride test. It’s called: ‘Calcium chloride shown to give false readings’, and you can see it at:

http://www.youtube.com/watch?v=Rpi-DZy3HOg&feature=
relmfu

Although the capacitance meter also has its problems, it is still widely used for quick moisture checks, especially when you’re looking for the most appropriate places to put an in-situ probe. Have you used a capacitance moisture meter before? What brand was it? If you haven’t used one before, do you know of any other capacitance meter manufacturers?

## Measuring pH levels

When the alkalinity in a concrete subfloor is too high, it can stop the floor covering adhesive from bonding properly to the concrete. Although this problem has always existed, it hadn’t been fully realised by flooring installers until quite recently.

This is partly due to the fact that the materials used by installers have changed over time. It’s also due to continuing research and a much better understanding of the importance of pH levels.

The new Australian Standard for resilient flooring installation (AS 1884-2012) now says that a pH test must be carried out on a concrete subfloor as part of the pre-installation assessment.

The minimum number of tests required is the same as for moisture testing – three in the first 100 m2 of floor, plus one extra test for every additional 100 m2.

### What pH means

pH is a measure of how acidic or alkaline a material is. In scientific terms, ‘p’ stands for ‘potential’ and ‘H’ is the chemical symbol for hydrogen – so ‘pH’ means ‘potential hydrogen’, or the ability to attract hydrogen ions. Materials with a low pH level are more acidic and have a lower attraction for hydrogen. Materials with a higher pH are more alkaline and have a higher attraction for hydrogen.

The balancing point is 7. If the pH is lower than 7, it is more acidic; if it’s higher, it’s more alkaline. When it’s right on 7, it’s called ‘pH neutral’.

Freshly mixed concrete is extremely alkaline – well above 10 – but the pH level drops as the concrete cures. AS 1884 says that the pH level of the concrete surface should be between 9 and 10 before the flooring installation is commenced. However, it also says that the final level should be determined by the adhesive manufacturer.

You should also check on the pH requirements of other manufacturers’ products that you might be using on the subfloor, such as moisture barriers, epoxy coatings and leveling compounds.

### Measuring pH

One way to measure pH is to use paper test strips, which change colour according to the alkalinity of the concrete.

A more accurate way is to use a pH meter, which gives a numerical reading via a digital display.

The testing procedure is as follows:

1. 	Sand a small section of the concrete surface with 200 grit sandpaper. This will remove any impurities from the surface that might affect the test results. Remove the dust with a vacuum cleaner.

Note that if the surface is still not porous after sanding – that is, if it doesn’t pass the water drop test – you’ll need to use a hand grinder to remove the non-porous material. Remember, if the water is beading on the surface, you won’t get an accurate pH reading because you’ll only be testing the pH of the water drop itself.

If you do have to mechanically prepare the surface, it’s best to wait until just before you install the floor covering so that your pH test is done on the actual floor surface you’ll be installing over.

2. 	Put several drops of distilled or ‘de-ionised’ water onto the prepared surface. The water must have a pH reading of 7 – you can use the test strip or meter to check the water’s pH before you use it.

3. 	Leave the drops for 60 seconds and then place the test strip or meter reader in the water. Wait for the period of time specified by the manufacturer.

4. 	Read the pH level by either comparing the colour of the test strip to the pH colour chart or by looking at the digital display on the meter.

##### Learning activity

Flooring Resources have produced a video clip called ‘pH test for concrete’ which describes how their pH test kit works. The link below will take you to the clip:

http://www.youtube.com/watch?v=EC0-enQTD6o&feature=related

pH testing is still quite new for concrete floors, but there are other pH tests that people do all the time, including in their own homes. One example is testing pH levels in swimming pools. Another is testing the soil in vegetable gardens, especially when certain types of vegetables aren’t growing as well as they should.

Have you used a pH test kit before? What were you testing? How did the system work?

## Assignment 4

Go to the Workbook for this unit to write your answers to the questions shown below. If you prefer to answer the questions electronically, go to the website version and download the Word document template for this assignment.

___________________________________________________________________________

- How do capacitance moisture meters work?

- Why are capacitance meters not very accurate at measuring moisture in concrete?

When you carry out a ‘surface mounted hood test’, exactly what are you measuring?

What is the maximum RH permitted in a concrete slab when measured with a surface mounted hood?

When you carry out an ‘in-situ probe test’, exactly what are you measuring?

What is the maximum RH permitted in a concrete slab when measured with an in-situ probe?

Why is it useful to have a capacitance meter on hand when you’re carrying out in-situ-probe or surface-mounted hood tests on a concrete slab?

How does an electrical resistance moisture meter measure the amount of water that’s present in timber?

What is the normal allowable moisture content range for timber in a subfloor?

Why is the ‘calcium chloride test’ no longer used by flooring installers to measure moisture content in concrete?

How many moisture tests should be carried out on a 100 m2 floor?

List the types of details you should record when you carry out a set of moisture tests on a subfloor (as recommended by the Australian Standards).

Why is it important to know what the pH level is on the concrete surface before you start a vinyl flooring installation?

What is the recommended pH range for a concrete subfloor, as stated in AS1884-2012?

# Practical demonstrations

In this unit we have provided background material to cover the following competencies:

MSFFL2004: 	Moisture test timber and concrete floors

MSFFL3003: 	Inspect sub-floors

The checklists below set out the sorts of things your trainer will be looking for when you undertake the practical demonstrations for this unit. The performance evidence for the individual competencies are listed separately below.

Make sure you talk to your trainer or supervisor about any of the details that you don’t understand, or aren’t ready to demonstrate, before the assessment event is organised. This will give you time to get the hang of the tasks you will need to perform, so that you’ll feel more confident when the time comes to be assessed.

When you are able to tick all of the YES boxes below you will be ready to carry out the practical demonstration component of this unit.

### MSFFL2004: Moisture test timber and concrete floors

| ### Specific performance evidence | ### YES |
| --- | --- |
| Complete the following moisture tests, and produce written notifications of the test results: - Electrical resistance moisture test on timber flooring, floor joists, bearers and stumps (Demonstration 1) - Hygrometer moisture test on concrete flooring (Demonstration 2) - Capacitance moisture test on concrete flooring (Demonstration 3) |  |
| Diagnose the causes and potential effects of moisture irregularities or problems (corresponding to Demonstrations 1, 2 and 3) |  |

| ### General performance evidence | ### YES |
| --- | --- |
| - Follow all relevant WHS laws and regulations, and company policies and procedures |  |
| - Consult relevant sources of information to determine proposed flooring covering type and work to be completed, and correct moisture content requirements |  |
| - Select and prepare appropriate tools, equipment and materials for the job at hand |  |
| - Identify timber subfloor structures and building materials used |  |
| - Inspect timber flooring to identify potential moisture content problems |  |
| - Inspect ventilation flow and note any irregularities |  |
| - Inspect timber floor joists, bearers and stumps to identify moisture content problems |  |
| - Carry out moisture content tests of timber flooring, joists, bearers and stumps in accordance with the relevant Australian Standards |  |
| - Identify concrete subfloor structures and building materials used |  |
| - Inspect concrete floor to identify potential moisture content problems |  |
| - Carry out moisture content tests of the concrete floor in accordance with the relevant Australian Standards |  |
| - Document the moisture test results in accordance with Australian Standards |  |
| - Put copies on file and send copies to appropriate personnel, according to workplace procedures |  |

### MSFFL3003: Inspect subfloors

| ### Specific performance evidence | ### YES |
| --- | --- |
| Complete the following inspections, and produce written notifications of the findings: - Inspection of a timber subfloor (Inspection 1) - Inspection of a concrete subfloor (Inspection 2) |  |

| ### General performance evidence | ### YES |
| --- | --- |
| - Follow all relevant WHS laws and regulations, and company policies and procedures |  |
| - Consult relevant sources of information to determine proposed flooring covering type and work to be completed, and correct moisture content requirements |  |
| - Select and prepare appropriate tools, equipment and materials for the job at hand |  |
| - Identify timber floor and subfloor structures and building materials used |  |
| - Check datum lines, floor levels, falls, dips, finished floor heights and door clearances |  |
| - Carry out timber moisture testing in accordance with the Australian Standards |  |
| - Inspect timber subfloor to identify irregularities |  |
| - Inspect ventilation flow and note any irregularities |  |
| - Inspect timber floor joists, bearers and stumps to identify irregularities |  |
| - Identify concrete floor and subfloor structures and building materials used |  |
| - Check datum lines, floor levels, falls and dips on the concrete floor |  |
| - Carry out concrete moisture testing in accordance with the Australian Standards |  |
| - Inspect concrete subfloor to identify irregularities |  |
| - Inspect expansion joints to ensure they are clean and unobstructed |  |
| - Document the inspection findings in accordance with workplace procedures |  |
| - Put copies on file and send copies to appropriate personnel, according to workplace procedures |  |